## Slide 1
WaterRF Workshop on EUM Benchmarking
Toho’s Continuous Improvement Journey
April 23, 2015

## Slide 2: Toho’s Continuous Improvement Journey
Michael Sweeney, Ph.D.
Deputy Executive Director
Toho Water Authority

## Slide 3: Agenda
About Toho Water Authority
Qualserve
Strategic Planning and EUM
Asset Management Program Benchmarking
WaterRF 4313: EUM Benchmarking Tool
TWA’s KPI “Portfolio”

## Slide 4: About: Toho Water Authority
A special independent district
6 member Board of Supervisors
A provider of water, wastewater, and reclaimed water services
Service population of about 250,000
290 employees
Notes: Toho is located in central Florida in Kissimmee. Orlando is a suburb of Kissimmee.

## Slide 5: Qualserve

## Slide 6: QualServe Programs
Benchmarking
Peer Review
Self-assessment
Common framework: - Business systems
  - Business categories
  - Best practices

## Slide 7: QualServe’s Benchmarking Inititative
Started in 2000-2001 and produced:
  22 indicators
  Common definitions of performance indicators
  Performance Indicators Reports

## Slide 8: Qualserve  Florida Benchmarking Consortium
Seven Qualserve peer reviewers
Qualserve survey participants
Many utilities themselves have previously undergone peer reviews
Concentrates on 11 performance indicators

## Slide 9: Strategic Planning

## Slide 10
TWA’s
Five Primary Strategies
Customer Service
Water Supply
Workforce
Infrastructure
Financial Health

## Slide 11: How 5 Strategic Goals Map to the 10 EUM Attributes
Product Quality
Customer Satisfaction
Employee and Leadership Development
Operational Optimization
Financial Viability
Infrastructure Stability
Operational Resiliency
Community Sustainability
Water Resource Adequacy
Stakeholder Understanding and Support
Customer Service
Employer of Choice
Water Supply
Infrastructure Financial Health
Notes: We need to develop a figure that illustrates this concept.

## Slide 12: Asset Management Program Benchmarking

## Slide 13: The Aquamark Framework
The asset management aspects of the utility are subdivided into seven functions:

## Slide 16: WaterRF 4313: EUM Benchmarking Tool

## Slide 17
Effective Utility Management
Performance Benchmarking for
Effectively Managed Water Utility Management
WaterRF Project # 4313

## Slide 18
TWA’s use of the Effective Utility Management Benchmarking Tool
  Our use was primarily driven by our participation in the project
  TWA selected 3 of the 10 attributes to benchmark
    Infrastructure Stability
    Operating Resiliency
    Water Resource Adequacy
  Review matrices for practice areas for the selected attributes
  Identify current and targeted performance level for each practice area
  Provide feedback to WaterRF

## Slide 19
Level of Performance Achieved - Low to High
Degree of Implementation – Low to High
Benchmark tool used to identify current and target levels
for each performance measure

## Slide 20
Benefits Realized from Using the Tool
  Facilitated a discussion on how “good” TWA needed to become.
    Caused TWA to identify were condition assessment activities could be performed by Staff on a scheduled basis. Lift Station rehab program fully implemented.
    Re-enforced the effort to obtain consistency and completeness of work order information.
    Highest score on implementation and performance may not be applicable or desirable within TWA’s financial, social or environmental space
  Validated Tactical and Strategic Plans
  Aided in the development of a high-level plan to close the gap between current and target process performance

## Slide 21: KPI Portfolio
Or measuring the tread depth of the rubber that is meeting the road…

## Slide 22
KPI Categories Roll-up to the Strategic Plan
22
Key Performance Indicators – Governance View
79%
60%
Improved response times sewer collection system failures.
Infrastructure Reliability
Regulatory Compliance
Financial Performance
Workforce Initiatives
1Q14 | 2Q14 | 3Q14
67% | 67% | 75%
77% | 82% | 100%
79% | 79% | 79%
67% | 67% | 60%
100% | 100% | 100%
n/a | n/a | n/a
Organizational Responsiveness
Customer Service Performance
73%
91%
100%
50%

## Slide 23
Level of Service – 4FQ14
23
Key Performance Indicators – Governance View
79%
60%
Staff available for phone coverage decreased while average call volume increased.
Infrastructure Reliability
Regulatory Compliance
Financial Performance
Workforce Initiatives
1Q14 | 2Q14 | 3Q14
67% | 67% | 75%
77% | 82% | 100%
79% | 79% | 79%
67% | 67% | 60%
100% | 100% | 100%
n/a | n/a | n/a
Organizational Responsiveness
Customer Service Performance
73%
91%
100%
50%

## Slide 24
Level of Service: Provide reliable service to TWA Customers | POTABLE WATER |  | WASTE WATER |  | RECLAIMED WATER | 
 | QTR | YR | QTR | YR | QTR | YR
Provide minimum pressure (at point of service) of 40 psi during average demand |  |  |  |  |  | 
Repair out-of-service fire hydrants within 14 days of notification |  |  |  |  |  | 
Restoration of service Potable Service Lines – 4 hours Potable Distribution Lines and Reclaimed Service – 8 hours Sewer Service – 8 hrs |  |  |  |  |  | 
Number of breaks per 100 miles (pipe) per year Potable and Reclaimed Water – 100 breaks Waste Water – 30 breaks |  |  |  |  |  | 
Unaccounted for water loss 10% or less |  |  |  |  |  | 
Fewer than 11 SSO’s per 100 miles (pipe) per year |  |  |  |  |  | 
Reduce # of SSO’s by 1% over previous year Wet weather SSO’s Dry weather SSO’s |  |  |  |  |  | 
Provide service on scheduled days |  |  |  |  |  | 
Infrastructure Reliability - 4FQ14 Quarterly Report
Target met/exceeded - GOOD
Target not met – IMPROVEMENT REQ’D
LEGEND
Low Bound not met – IMPROVEMENT REQ’D
Trend Improving
Trending Worse
WORST
BEST
73%

## Slide 25
Infrastructure Reliability - 4FQ14 Quarterly Report
Target met/exceeded - GOOD
Target not met – IMPROVEMENT REQ’D
LEGEND
Low Bound not met – IMPROVEMENT REQ’D
Trend Improving
Trending Worse
WORST
BEST
Level of Service: Provide reliable service to TWA Customers | POTABLE WATER |  | WASTE WATER |  | RECLAIMED WATER | 
 | QTR | YR | QTR | YR | QTR | YR
Provide minimum pressure (at point of service) of 40 psi during average demand |  |  |  |  |  | 
Repair out-of-service fire hydrants within 14 days of notification |  |  |  |  |  | 
Restoration of service Potable Service Lines – 4 hours Potable Distribution Lines and Reclaimed Service – 8 hours Sewer Service – 8 hrs |  |  |  |  |  | 
Number of breaks per 100 miles (pipe) per year Potable and Reclaimed Water – 100 breaks Waste Water – 30 breaks |  |  |  |  |  | 
Unaccounted for water loss 10% or less |  |  |  |  |  | 
Fewer than 11 SSO’s per 100 miles (pipe) per year |  |  |  |  |  | 
Reduce # of SSO’s by 1% over previous year Wet weather SSO’s Dry weather SSO’s |  |  |  |  |  | 
Provide service on scheduled days |  |  |  |  |  | 
Hydrant repair averaged 22.6 days for the quarter.
73%

## Slide 26
Infrastructure Reliability - 4FQ14 Quarterly Report
Target met/exceeded - GOOD
Target not met – IMPROVEMENT REQ’D
LEGEND
Low Bound not met – IMPROVEMENT REQ’D
Trend Improving
Trending Worse
WORST
BEST
Level of Service: Provide reliable service to TWA Customers | POTABLE WATER |  | WASTE WATER |  | RECLAIMED WATER | 
 | QTR | YR | QTR | YR | QTR | YR
Provide minimum pressure (at point of service) of 40 psi during average demand |  |  |  |  |  | 
Repair out-of-service fire hydrants within 14 days of notification |  |  |  |  |  | 
Restoration of service Potable Service Lines – 4 hours Potable Distribution Lines and Reclaimed Service – 8 hours Sewer Service – 8 hrs |  |  |  |  |  | 
Number of breaks per 100 miles (pipe) per year Potable and Reclaimed Water – 100 breaks Waste Water – 30 breaks |  |  |  |  |  | 
Unaccounted for water loss 10% or less |  |  |  |  |  | 
Fewer than 11 SSO’s per 100 miles (pipe) per year |  |  |  |  |  | 
Reduce # of SSO’s by 1% over previous year Wet weather SSO’s Dry weather SSO’s |  |  |  |  |  | 
Provide service on scheduled days |  |  |  |  |  | 
1.5% of breaks for this quarter were associated with main distribution lines.
73%

## Slide 27
Infrastructure Reliability - 4FQ14 Quarterly Report
Target met/exceeded - GOOD
Target not met – IMPROVEMENT REQ’D
LEGEND
Low Bound not met – IMPROVEMENT REQ’D
Trend Improving
Trending Worse
WORST
BEST
Level of Service: Provide reliable service to TWA Customers | POTABLE WATER |  | WASTE WATER |  | RECLAIMED WATER | 
 | QTR | YR | QTR | YR | QTR | YR
Provide minimum pressure (at point of service) of 40 psi during average demand |  |  |  |  |  | 
Repair out-of-service fire hydrants within 14 days of notification |  |  |  |  |  | 
Restoration of service Potable Service Lines – 4 hours Potable Distribution Lines and Reclaimed Service – 8 hours Sewer Service – 8 hrs |  |  |  |  |  | 
Number of breaks per 100 miles (pipe) per year Potable and Reclaimed Water – 100 breaks Waste Water – 30 breaks |  |  |  |  |  | 
Unaccounted for water loss 10% or less |  |  |  |  |  | 
Fewer than 11 SSO’s per 100 miles (pipe) per year. |  |  |  |  |  | 
Reduce # of SSO’s by 1% over previous year Wet weather SSO’s Dry weather SSO’s |  |  |  |  |  | 
Provide service on scheduled days |  |  |  |  |  | 
74% of failures for the quarter occurred in the sewer lateral lines or at the cleanout
73%

## Slide 28
Detail Data:
KPI: Restoration of Service – potable service lines (4 hours) and distribution lines (8 hours)
Since it is not possible to consistently differentiate between service and distribution lines an average of 8 hours is used.
Description: The following information pertains to any service interruptions (line breaks, meter or valve replacements, etc.) that cause customers to experience the complete cessation of water service or water delivered at a pressure lower than 20psi.
Data includes potable water work orders with LEAKING as the problem code and/or work orders with the word WATER and LEAK, BREAK, CUT, or HIT in the description and a SERVICE INTERRUPTION indicated.
Data shown uses the recorded service interruption time.
Observations / Actions Taken: The target has been consistently achieved for the quarter.
Chart: Average Hours to Restore Service
| Oct-13 | Nov-13 | Dec-13 | Jan-14 | Feb-14 | Mar-14 | Apr-14 | May-14 | Jun-14 | Jul-14 | Aug-14 | Sep-14
Average Hrs | 14.9443 | 6.1945 | 2.7505 | 2.4069 | 0.61103 | 0.52573 | 0.58269 | 0.80204 | 0.7123 | 0.60889 | 0.76992 | 0.58246
KPI Target | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
# of work orders | 192 | 92 | 127 | 113 | 97 | 89 | 119 | 108 | 113 | 135 | 120 | 122
Sample Detail

## Slide 29: Overarching Considerations
Do you currently have defined performance measures and targets in place?
How are they used and integrated to monitor trends and support operations, maintenance, asset management and/or financial decisions?
How well are they aligned with your strategic or operating plans?
How effectively is performance information shared with your external stakeholders?

## Slide 30: Thank You
Comments or questions, please contact:
msweeney@tohowater.com
For more information visit:
www.tohowater.com